ROUTINE TEST RECORD FOR BELT SCALE

JOB No: {{job}}					CUSTOMER NAME: {{cust}}

CAPACITY :	{{cap}}             		           CONVEYOR NO : {{cn}}

| BELT SCALE | LOAD CELL | SPEED SENSOR | JUNCTION BOX |
| --- | --- | --- | --- |
| Model No: {{bm}} Serial No: {{bs}} S/W Version: {{sw}} REMOTE: Model No: {{rmm}} Serial No: {{rms}} | Model No: {{lm}} Serial No: 1) {{s1}} 2) {{s2}} 3) {{s3}} 4) {{s4}} | Model No: {{sm}} Serial No: {{ss}} | Model No: {{j1m}} Serial No: {{j1s}} Model No: {{j2m}} Serial No: {{j2s}} Model No: {{j3m}} Serial No: {{j3s}} |
|  |  | ANGLE SENSOR |  |
|  |  | Model No: {{am}} Serial No: {{as}} |  |

Check for short between Line & Neutral, Neutral & Earth, Line & Earth : {{sc}}

| SL. No. | Test Performed | Specified | Actual |
| --- | --- | --- | --- |
| 1. | Input Supply Voltage (+/-10%) | {{sp1}} | {{ac1}} |
| 2. | Derived DC Voltages (+/-5%) | {{sp2}} | {{ac2}} |
| 3. | Display and Keypad Functionality | {{sp3}} | {{ac3}} |
| 4. | Belt Load as specified in G.A. or MPL | {{sp4}} | {{ac4}} Kg/m |
| 5. | Belt Speed as specified in G.A. or MPL | {{sp5}} | {{ac5}} m/s |
| 6. | Number of PF Contacts | {{sp6}} | {{ac6}} |
| 7. | Communication Output (Specify) | {{sp7}} | {{ac7}} |
| 8. | Analog Output (Specify number) | {{sp8}} | {{ac8}} |
| 9. | Wiring, TB and Component Layout | {{sp9}} | {{ac9}} |

Resolution:            L: {{rl}}          S: {{rs}}          r: {{rr}}          t: {{rt}}

Measurement to be done from 0 to 110% of the Belt Scale capacity.

| Load on Load cell Kg/Mv | Belt load Kg/m | Speed in m/s | Rate in tph | Totalizer in Tones (6 min) | O/p current mA |
| --- | --- | --- | --- | --- | --- |
| {{g10}} | {{g11}} | {{g12}} | {{g13}} | {{g14}} | {{g15}} |
| {{g20}} | {{g21}} | {{g22}} | {{g23}} | {{g24}} | {{g25}} |
| {{g30}} | {{g31}} | {{g32}} | {{g33}} | {{g34}} | {{g35}} |
| {{g40}} | {{g41}} | {{g42}} | {{g43}} | {{g44}} | {{g45}} |
| {{g50}} | {{g51}} | {{g52}} | {{g53}} | {{g54}} | {{g55}} |
| {{g60}} | {{g61}} | {{g62}} | {{g63}} | {{g64}} | {{g65}} |
| {{g70}} | {{g71}} | {{g72}} | {{g73}} | {{g74}} | {{g75}} |
| {{g80}} | {{g81}} | {{g82}} | {{g83}} | {{g84}} | {{g85}} |
| {{g90}} | {{g91}} | {{g92}} | {{g93}} | {{g94}} | {{g95}} |
| {{g100}} | {{g101}} | {{g102}} | {{g103}} | {{g104}} | {{g105}} |
| {{g110}} | {{g111}} | {{g112}} | {{g113}} | {{g114}} | {{g115}} |

Instrument Used: {{inst}}

Tested by: {{tb}}				               Approved by: {{ab}}

Date: {{dt}}					               (HOD - PDN)