ROUTINE TEST RECORD FOR LOAD INDICATOR / DIGITAL INDICATOR / TANK / HOPPER / SILO WEIGHING SYSTEM/CRANE WEIGHING SYSTEM

SYSTEM  : DIGITAL INDICATOR

JOB No.    : TEST-VERIFY						CUSTOMER NAME: Test Corp

CAPACITY: 500 Kg	                                       TAG. NO: TAG-01

| Load/Digital Indicator. | SENSOR | REMOTE (IF ANY) | JUNCTION BOX |
| --- | --- | --- | --- |
| Model No: DI-100 Serial No: SN-001 S/W Version: 3.1.3 | Model No: LC-100 Serial No: 1) S1 2) S2 3) S3 4) S4 | Model No: N/A Serial No: N/A | Model No: JB-1 Serial No: JB-S1 |

Check for short between Line & Neutral , Neutral & Earth , Line & Earth : OK (>100M Ohm)

| SL. No. | Test Performed | Specified Values | Actual Values |
| --- | --- | --- | --- |
| 1. | Input Supply Voltage (+/-10%) | 230V | 230V |
| 2. | Derived DC Voltages (+/-5%) | 24V | 24V |
| 3. | Check for the power on display and the Keyboard function. | OK | OK |
| 4. | Load on the Load cell as specified in G.A. or MPL | Full Capacity Span | Passed |
| 5. | Tare weight as specified in G.A. or MPL | Zero Balance OK | Passed |

Resolution: L: kg/T

Measurement to be done from 0 to 110% of the System capacity.

| Load on Load cell Kg/T or mV | Measured Load kg/T (1 to 4 Load cell system) 1 2 3 4 |  |  |  | Current output mA | Measured Load kg/T (5 to 8 Load cell system) 5 6 7 8 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 10mV | 10.0 | 10.0 | 10.0 | 10.0 | 4.00 |  |  |  |  |
| 10mV | 10.0 | 10.0 | 10.0 | 10.0 | 4.00 |  |  |  |  |
| 10mV | 10.0 | 10.0 | 10.0 | 10.0 | 4.00 |  |  |  |  |
| 10mV | 10.0 | 10.0 | 10.0 | 10.0 | 4.00 |  |  |  |  |
| 10mV | 10.0 | 10.0 | 10.0 | 10.0 | 4.00 |  |  |  |  |
| 10mV | 10.0 | 10.0 | 10.0 | 10.0 | 4.00 |  |  |  |  |
| 10mV | 10.0 | 10.0 | 10.0 | 10.0 | 4.00 |  |  |  |  |
| 10mV | 10.0 | 10.0 | 10.0 | 10.0 | 4.00 |  |  |  |  |
| 10mV | 10.0 | 10.0 | 10.0 | 10.0 | 4.00 |  |  |  |  |
| 10mV | 10.0 | 10.0 | 10.0 | 10.0 | 4.00 |  |  |  |  |
| 10mV | 10.0 | 10.0 | 10.0 | 10.0 | 4.00 |  |  |  |  |
| 10mV | 10.0 | 10.0 | 10.0 | 10.0 | 4.00 |  |  |  |  |

ROUTINE TEST RECORD FOR LOAD / DIGITAL INDICATOR / TANK / HOPPER / SILO WEIGHING SYSTEM

| SL. No. | Test Performed | Checked: YES/NO |
| --- | --- | --- |
| 6. | PF/ Relay Contacts: Check for the relay change over for the set points. | Checked: YES |
| 7. | Display Annunciation: (As per the software Details) | Checked: YES |
| 8. | Communication: RS 232 / RS 485 / BCD / Other Communication Protocols (If any specify) The RS232 / RS485 to be checked with interfacing to PC | Checked: YES |
| 9. | Any other parameters (If Any) | N/A |
| 10. | Rating of the fuse used in the system: | 2A Fast Blow |

REMARKS (If ANY): -

Instrument Used: Multimeter / Calibrator

Tested by: 	                                                       		 Approved by: HOD - PDN

Date: 15-Sep-2026					                  		(HOD - PDN)