ROUTINE TEST RECORD FOR BELT SCALE

JOB No:           					CUSTOMER NAME:

CAPACITY :			             		CONVEYOR NO :

| BELT SCALE | LOAD CELL | SPEED SENSOR | JUNCTION BOX |
| --- | --- | --- | --- |
| Model No: Serial No: S/W Version: REMOTE: Model No: Serial No: | Model No: Serial No: 1) 2) 3) 4) | Model No: Serial No: | Model No: Serial No: Model No: Serial No: Model No: Serial No: |
|  |  | ANGLE SENSOR |  |
|  |  | Model No: Serial No: |  |

Check for short between Line & Neutral, Neutral & Earth, Line & Earth : Checked and found ok

| SL. No. | Test Performed | Specified | Actual |
| --- | --- | --- | --- |
| 1. | Input Supply Voltage (+/-10%) |  |  |
| 2. | Derived DC Voltages (+/-5%) |  |  |
| 3. | Display and Keypad Functionality |  |  |
| 4. | Belt Load as specified in G.A. or MPL |  | Kg/m |
| 5. | Belt Speed as specified in G.A. or MPL |  | m/s |
| 6. | Number of PF Contacts |  |  |
| 7. | Communication Output (Specify) |  |  |
| 8. | Analog Output (Specify number) |  |  |
| 9. | Wiring, TB and Component Layout |  |  |

Resolution:            L: 0.01 kg/m          S: 0.01 m/s          r: 0.1 tph          t: 0.1 tonnes

Measurement to be done from 0 to 110% of the Belt Scale capacity.

| Load on Load cell Kg/Mv | Belt load Kg/m | Speed in m/s | Rate in tph | Totalizer in Tones (6 min) | O/p current mA AO1 ¦ AO2 |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 4.01 ¦ 4.01 |
|  |  |  |  |  | 4.02 ¦ 4.02 |
|  |  |  |  |  | 4.03 ¦ 4.03 |
|  |  |  |  |  | 4.04 ¦ 4.04 |
|  |  |  |  |  | 4.05 ¦ 4.05 |
|  |  |  |  |  | 4.06 ¦ 4.06 |
|  |  |  |  |  | 4.07 ¦ 4.07 |
|  |  |  |  |  | 4.08 ¦ 4.08 |
|  |  |  |  |  | 4.09 ¦ 4.09 |
|  |  |  |  |  | 4.10 ¦ 4.10 |
|  |  |  |  |  | 4.11 ¦ 4.11 |

Instrument Used:

Tested by:                                				Approved by:

Date:                            					(HOD - PDN)