ROUTINE TEST RECORD FOR BELT SCALE

JOB No: {{job}}           					CUSTOMER NAME: {{cust}}

CAPACITY : {{cap}}			             		CONVEYOR NO : {{cn}}

| BELT SCALE | LOAD CELL | SPEED SENSOR | JUNCTION BOX |
| --- | --- | --- | --- |
| Model No: {{bm}} Serial No: {{bs}} S/W Version: {{sw}} REMOTE: Model No: {{rmm}} Serial No: {{rms}} | Model No: {{lm}} Serial No: 1) {{s1}} 5) {{s5}} 2) {{s2}} 6) {{s6}} 3) {{s3}} 7) {{s7}} 4) {{s4}} 8) {{s8}} | Model No: {{sm}} Serial No: {{ss}} | Model No: {{j1m}} Serial No: {{j1s}} Model No: {{j2m}} Serial No: {{j2s}} Model No: {{j3m}} Serial No: {{j3s}} |
|  |  | ANGLE SENSOR |  |
|  |  | Model No: {{am}} Serial No: {{as}} |  |

Check for short between Line & Neutral, Neutral & Earth, Line & Earth : {{sc}}

| SL. No. | Test Performed | Specified | Actual |
| --- | --- | --- | --- |
| 1. | Input Supply Voltage (+/-10%) | {{sp1}} | {{ac1}} |
| 2. | Derived DC Voltages (+/-5%) | {{sp2}} | {{ac2}} |
| 3. | Display and Keypad Functionality | {{sp3}} | {{ac3}} |
| 4. | Belt Load as specified in G.A. or MPL | {{sp4}} | {{ac4}} Kg/m |
| 5. | Belt Speed as specified in G.A. or MPL | {{sp5}} | {{ac5}} m/s |
| 6. | Number of PF Contacts | {{sp6}} | {{ac6}} |
| 7. | Communication Output (Specify) | {{sp7}} | {{ac7}} |
| 8. | Analog Output (Specify number) | 3 x 4-20mA | 3 x 4-20mA |
| 9. | Wiring, TB and Component Layout | {{sp9}} | {{ac9}} |

Resolution:            L: {{rl}}          S: {{rs}}          r: {{rr}}          t: {{rt}}

Measurement to be done from 0 to 110% of the Belt Scale capacity.

| Load on Load cell Kg/Mv | Belt load Kg/m | Speed in m/s | Rate in tph | Totalizer in Tones (6 min) | O/p current mA |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | A01 | A02 | A03 |
| {{g1_0}} | {{g1_1}} | {{g1_2}} | {{g1_3}} | {{g1_4}} | {{g15}} | {{g15_ao2}} | {{g15_ao3}} |
| {{g2_0}} | {{g2_1}} | {{g2_2}} | {{g2_3}} | {{g2_4}} | {{g25}} | {{g25_ao2}} | {{g25_ao3}} |
| {{g3_0}} | {{g3_1}} | {{g3_2}} | {{g3_3}} | {{g3_4}} | {{g35}} | {{g35_ao2}} | {{g35_ao3}} |
| {{g4_0}} | {{g4_1}} | {{g4_2}} | {{g4_3}} | {{g4_4}} | {{g45}} | {{g45_ao2}} | {{g45_ao3}} |
| {{g5_0}} | {{g5_1}} | {{g5_2}} | {{g5_3}} | {{g5_4}} | {{g55}} | {{g55_ao2}} | {{g55_ao3}} |
| {{g6_0}} | {{g6_1}} | {{g6_2}} | {{g6_3}} | {{g6_4}} | {{g65}} | {{g65_ao2}} | {{g65_ao3}} |
| {{g7_0}} | {{g7_1}} | {{g7_2}} | {{g7_3}} | {{g7_4}} | {{g75}} | {{g75_ao2}} | {{g75_ao3}} |
| {{g8_0}} | {{g8_1}} | {{g8_2}} | {{g8_3}} | {{g8_4}} | {{g85}} | {{g85_ao2}} | {{g85_ao3}} |
| {{g9_0}} | {{g9_1}} | {{g9_2}} | {{g9_3}} | {{g9_4}} | {{g95}} | {{g95_ao2}} | {{g95_ao3}} |
| {{g10_0}} | {{g10_1}} | {{g10_2}} | {{g10_3}} | {{g10_4}} | {{g105}} | {{g105_ao2}} | {{g105_ao3}} |
| {{g11_0}} | {{g11_1}} | {{g11_2}} | {{g11_3}} | {{g11_4}} | {{g115}} | {{g115_ao2}} | {{g115_ao3}} |

Instrument Used: {{inst}}

Tested by: {{tb}}                                				                           Approved by: {{ab}}

Date: {{dt}}                            					                           (HOD - PDN)