ROUTINE TEST RECORD FOR LOAD INDICATOR / DIGITAL INDICATOR / TANK / HOPPER / SILO WEIGHING SYSTEM/CRANE WEIGHING SYSTEM

SYSTEM  :

JOB No.    :						CUSTOMER NAME:

CAPACITY: Kg/Tonnes    	                                       TAG. NO:

| Load/Digital Indicator. | SENSOR | REMOTE (IF ANY) | JUNCTION BOX |
| --- | --- | --- | --- |
| Model No: Serial No: S/W Version: | Model No: Serial No: 1) 5) 2) 6) 3) 7) 4) 8) | Model No: Serial No: | Model No: Serial No: Model No: Serial No: |

Check for short between Line & Neutral , Neutral & Earth , Line & Earth :

| SL. No. | Test Performed | Specified Values | Actual Values |
| --- | --- | --- | --- |
| 1. | Input Supply Voltage (+/-10%) |  |  |
| 2. | Derived DC Voltages (+/-5%) |  |  |
| 3. | Check for the power on display and the Keyboard function. |  |  |
| 4. | Load on the Load cell as specified in G.A. or MPL |  | Kg/T |
| 5. | Tare weight as specified in G.A. or MPL |  | Kg/T |

Resolution: L: kg/T

Measurement to be done from 0 to 110% of the System capacity.

| Load on Load cell Kg/T or mV | Measured Load kg/T (1 to 4 Load cell system) 1 2 3 4 |  |  |  | Current output mA |  | Measured Load kg/T (5 to 8 Load cell system) 5 6 7 8 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | AO1 | AO2 |  |  |  |  |

ROUTINE TEST RECORD FOR LOAD / DIGITAL INDICATOR / TANK / HOPPER / SILO WEIGHING SYSTEM

| SL. No. | Test Performed | Checked: YES/NO |
| --- | --- | --- |
| 6. | PF/ Relay Contacts: Check for the relay change over for the set points. |  |
| 7. | Display Annunciation: (As per the software Details) |  |
| 8. | Communication: RS 232 / RS 485 / BCD / Other Communication Protocols (If any specify) The RS232 / RS485 to be checked with interfacing to PC |  |
| 9. | Any other parameters (If Any) |  |
| 10. | Rating of the fuse used in the system: |  |

REMARKS (If ANY): -

Instrument Used:

Tested by:	                                                       			 Approved by:

Date:						                  		(HOD – PDN)