Test Report for Miscellaneous items: Production Systems

Job No: JOB-2026-908 Model No: CCB-200 Customer: ADANI POWER Sl. No: SN-CCB-88 Item Description: Custom Controller Board Qty: 1 Nos

Test Readings and Result: Input Voltage : 24 VDC +/- 5% Current Consumption : 150 mA Relay Contact Output : Checked & Energized OK RS485 Modbus RTU : Communicating at 9600 baud

Tested by: Tester E	Approved by: HOD-PDN

Date: 18-Sep-2026	(HOD-PDN)