Test Report for Miscellaneous items: Production Systems

Job No: JOB-2026-901 Model No: LC-3000 Customer: TATA STEEL Sl. No: LC-01, LC-02, LC-03, LC-04 Item Description: Load Cell Testing Qty: 4 Nos

Test Readings and Result: TRACKING NO: TRK-9901 SL NO; LOAD CELL SERIAL NO; INPUT RESISTANCE(Ω); OUTPUT RESISTIANCE(Ω); INITIAL UNBALANCE(Mv). 1; LC-01; 350.2; 350.0; 0.02. 2; LC-02; 350.5; 350.1; 0.03. 3; LC-03; 350.1; 349.9; 0.01. 4; LC-04; 350.4; 350.2; 0.02.

Tested by: Tester A	Approved by: HOD-PDN

Date: 18-Sep-2026	(HOD-PDN)