ROUTINE TEST RECORD FOR BATCHING/BAGGING SYSTEM

JOB No.	:						CUSTOMER:

CAPACITY	:		Kg/Tonnes			MATERIAL:

| BATCHING SYSTEM | DIGITAL CONTROLLER / PLC | SENSOR | JUNCTION BOX |
| --- | --- | --- | --- |
| Model No. Serial No. | Model No.: Serial No.: SW version: | Model No. Serial No. 1) 2) 3) 4) | Model No. Serial No. Model No. Serial No. |

NOTE: Check for short between Line & Neutral, Neutral & Earth, Line & Earth before powering ON the system

| SL. No. | Test Performed | Specified | Actual |
| --- | --- | --- | --- |
| 1. | Input Supply Voltage (+/-10%) |  |  |
| 2. | Check for the display function, annunciation and keyboard function. |  |  |
| 3. | Speed of Bagging / Batching |  |  |
| 4. | Accuracy of the System |  |  |
| 5. | Bulk Density of Material |  |  |

Resolution: L:              kg/T

Measurement to be done from 10 to 100% of the Batching/Bagging system capacity.

| Set Batch/ Bag Weight Kg/T or mV | Achieved Batch/ Bag Weight Kg/T WH | Current output mA |
| --- | --- | --- |

ROUTINE TEST RECORD FOR BATCHING/BAGGING SYSTEM

| SL. No. | Test Performed | Checked: Yes/No |
| --- | --- | --- |
| 1. | Functional check - Manual Mode |  |
|  | - Auto Mode |  |
| 2. | PF contacts to customer |  |
| 3. | PF Contacts from Customer |  |
| 4. | PF contacts from limit switches |  |
| 5. | PF contacts for annunciation |  |
| 6. | Functionality of Clamping System / Gates |  |
| 7. | Communication |  |
| 8. | PC software / SCADA |  |
| 9. | Pneumatic System Functionality |  |
| REMARKS (IF ANY) |  |  |

Instrument Used:

Tested by:	  							         Approved by:

Date: 								        (HOD – PDN)