ROUTINE TEST RECORD FOR BELT SCALE

JOB No.	:						CUSTOMER:

CAPACITY	:		                                                    CONVEYOR NO:

| BELT SCALE | SENSOR | SPEED SENSOR | JUNCTION BOX |
| --- | --- | --- | --- |
| Model No: Serial No: REMOTE: Model No: Serial No: | Model No: Serial No: 1) 2) 3) 4) | Tacho/Proximity Sensor Model No: Serial No: | Model No: Serial No: Model No: Serial No: |

Version:

Check for short between Line & Neutral, Neutral & Earth, Line & Earth : CHECKED AND FOUND OK

| SL. No. | Test Performed | Specified | Actual |
| --- | --- | --- | --- |
| 1. | Input Supply Voltage (+/-10%) | 230V | 230V |
| 2. | Derived DC Voltages (+/-5%) | 24V | 24V |
| 3. | Display and Keypad Functionality | OK | OK |
| 4. | Belt Load as specified in G.A. or MPL | 5.00 mV | Kg/m |
| 5. | Belt Speed as specified in G.A. or MPL | 23.87 HZ | m/s |
| 6. | Number of PF Contacts | 4 | 4 |
| 7. | Communication Output (Specify) | RS-485 | RS-485 |
| 8. | Analog Output (Specify number) | 4-20mA | 4-20mA |
| 9. | Wiring, TB and Component Layout | OK | OK |

Resolution: L:                                S:                                 r:                                   t:

| Load on Load cell Kg / mV | Belt load Kg/m | Speed in m/s | Rate in tph | Totalizer in Tones (6 min) | O/p current mA |
| --- | --- | --- | --- | --- | --- |

NOTE: Ensure that battery and appropriate fuse are installed as required. Final Inspection to be performed as per the Checklist after completion of Job

Instrument Used:

Tested by:	                                                       		                         Approved by:

Date:									(HOD – PDN)