ROUTINE TEST RECORD FOR CRANE SCALE

JOB No.	:					    CUSTOMER:

CAPACITY  :                      kg/ Tonnes	                 STAMP NO:

Load cell. Model No. :				    Serial No. :

| Crane scale | Battery charger | Remote | Hook | Bow shackle |
| --- | --- | --- | --- | --- |
| Model No. Serial No. | Model No: Sl. No: | Model No: Sl. No: | Sl. No: | Sl. No: |

| SL. No. | Test Performed | Specified Values | Actual Values |
| --- | --- | --- | --- |
| 1. | Open Battery Voltage | 6.5 V ± 1 V |  |
| 2. | Check for function of all the switches on Main unit and Remote |  |  |
| 3. | Check the Wi-Fi/ Communication Function |  |  |

Resolution :	L:		kg/tonnes

Measurement to be done from 0 to 100% of the Crane Scale capacity.

| Load on Load cell Kg/T or mv | Measured load Kg/T |
| --- | --- |

- Battery Charger voltage

When the battery connected:

- Low battery voltage set (CS):

- Check for the remote operation:

(For the distance of min. 15 meters)

Remarks (if any)

Instrument Used:

Checked by:	 						Approved by:

Date:								(HOD – PDN)