TEST REPORT FOR ACCELEROMETER: MODEL NO PG503M9/PG045M0

Job No:

Customer Name:

Serial No:

Test 1: Axial Sensitivity

Linearity test

Frequency: 50Hz

| Acceleration from Std A (g) | Output of Test Accelerometer V mV (Pk-Pk) | Sensitivity of Test accelerometer S=VA (mV/g) |
| --- | --- | --- |
| 1 | {{cal_in_1}} | {{cal_out_1}} |
| 2 | {{cal_in_2}} | {{cal_out_2}} |
| 3 | {{cal_in_3}} | {{cal_out_3}} |
| 4 | {{cal_in_4}} | {{cal_out_4}} |
| 5 | {{cal_in_5}} | {{cal_out_5}} |
| 6 | {{cal_in_6}} | {{cal_out_6}} |
| 7 | {{cal_in_7}} | {{cal_out_7}} |
| 8 | {{cal_in_8}} | {{cal_out_8}} |
| 9 | {{cal_in_9}} | {{cal_out_9}} |
| 10 | {{cal_in_10}} | {{cal_out_10}} |

Mean:                mV/g

Frequency test

| Frequency (Hz) | Acceleration from Standard A (g) | Output of Test Accelerometer V mV (Pk-Pk) | Sensitivity of test accelerometer S=VA (mV/g) |
| --- | --- | --- | --- |
| 50 | 1 | {{spec_1}} | {{act_1}} |
| 200 | 1 | {{spec_2}} | {{act_2}} |
| 300 | 1 | {{spec_3}} | {{act_3}} |
| 50 | 10 | {{spec_4}} | {{act_4}} |
| 200 | 10 | {{spec_5}} | {{act_5}} |
| 300 | 10 | {{spec_6}} | {{act_6}} |

Mean:             mV/g

Test 2. Post Sealing Axial Sensitivity

Linearity test

Frequency: 50Hz

| Acceleration from Std A (g) | Output of test accelerometer V mV (pk-pk) | Sensitivity of test accelerometer S=VA (mV/g) |
| --- | --- | --- |
| 1 | {{cal_in_1}} | {{cal_out_1}} |
| 2 | {{cal_in_2}} | {{cal_out_2}} |
| 3 | {{cal_in_3}} | {{cal_out_3}} |
| 4 | {{cal_in_4}} | {{cal_out_4}} |
| 5 | {{cal_in_5}} | {{cal_out_5}} |
| 6 | {{cal_in_6}} | {{cal_out_6}} |
| 7 | {{cal_in_7}} | {{cal_out_7}} |
| 8 | {{cal_in_8}} | {{cal_out_8}} |
| 9 | {{cal_in_9}} | {{cal_out_9}} |
| 10 | {{cal_in_10}} | {{cal_out_10}} |

Mean:         mV/g

| A) CHARGE SENSITIVITY | : |
| --- | --- |
| B) CAPACITANCE | : |
| C) INSULATION RESISTANCE | : |

| TESTED BY | : | APPROVED BY: |
| --- | --- | --- |
| DATE | {{cal_in_1}} | {{cal_out_1}} |