ROUTINE TEST RECORD FOR CRANE SCALE

JOB No.:    CUSTOMER: Heavy Forge Industries

CAPACITY  :                      kg/ Tonnes	                 STAMP NO:

Load cell. Model No. :				    Serial No. :

| Crane scale | Battery charger | Remote | Hook | Bow shackle |
| --- | --- | --- | --- | --- |
| Model No. {{crane_model}} Serial No. {{crane_serial}} Hook Serial: {{hook_serial}} Shackle Serial: {{shackle_serial}} | Remote Details: {{remote_details}} Charger Details: {{charger_details}} Stamp No.: {{stamp_no}} | Model No: Sl. No: | Sl. No: | Sl. No: |

| SL. No. | Test Performed | Specified Values | Actual Values |
| --- | --- | --- | --- |
| 1. | Open Battery Voltage | {{spec_1}} | {{act_1}} |
| 2. | Check for function of all the switches on Main unit and Remote | {{spec_2}} | {{act_2}} |
| 3. | Check the Wi-Fi/ Communication Function | {{spec_3}} | {{act_3}} |

Resolution :	L:		kg/tonnes

Measurement to be done from 0 to 100% of the Crane Scale capacity.

| Load on Load cell Kg/T or mv | Measured load Kg/T |
| --- | --- |

- Battery Charger voltage

When the battery connected:

- Low battery voltage set (CS):

- Check for the remote operation:

(For the distance of min. 15 meters)

Remarks (if any)

Instrument Used: {{instrument_used}}

Checked by: Approved by: HOD-PDN

Date: 2026-08-22(HOD – PDN)