TEST RECORD FOR CHARGE AMPLIFIER/CONVERTER

| JOB ORDER NO.: CUSTOMER: |  |
| --- | --- |
| VIBRATION SWITCH MODEL NO.: SERIAL NO.: | ACCELEROMETER MODEL NO.: SERIAL NO.: |
| SPECIFICATIONS: - Frequency range - Maximum input signal - Maximum output signal - Conversion Factor - Percentage of Error | : : : : : |

- LINEARITY TEST (REFERENCE FREQUENCY- 50 Hz)

| Sl. No. | INPUT SIGNAL g (m/s2) | OUTPUT SIGNAL VO mV (pk-pk) | CONVERSION FACTOR Vo/g |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |

- FREQUENCY RESPONSE TEST

| Sl. No. | Frequency in Hz | INPUT SIGNAL G (m/s2) | OUTPUT SIGNAL VO mV (pk-pk) | CONVERSION FACTOR Vo/g |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |

TESTED BY: 							APPROVED BY

DATE: 								    HOD (PDN)