TEST RECORD FOR VIBRATION SWITCH

| JOB ORDER NO.: CUSTOMER: |  |
| --- | --- |
| VIBRATION SWITCH MODEL NO.: SERIAL NO.: | ACCELEROMETER MODEL NO.: SERIAL NO.: |

- LINEARITY TEST (REFERENCE FREQUENCY- 50 Hz)

| Sl. No. | SET LEVEL VELOCITY cm/s (RMS) | TRIP LEVEL VELOCITY cm/s (RMS) |
| --- | --- | --- |
| 1 | 2.0 |  |
| 2 | 4.0 |  |
| 3 | 6.0 |  |
| 4 | 8.0 |  |

- FREQUENCY RESPONSE TEST

| Sl. No. | Frequency in Hz | SET LEVEL VELOCITY cm/s (RMS) |  |  | TRIP LEVEL VELOCITY cm/s (RMS) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 20 | 2.0 | 5.0 | 7.0 |  |  |  |
| 2 | 50 | 2.0 | 5.0 | 7.0 |  |  |  |
| 3 | 100 | 2.0 | 5.0 | 7.0 |  |  |  |
| 4 | 150 | 2.0 | 5.0 | 7.0 |  |  |  |

PERCENTAGE OF ERROR:

TESTED BY: 							APPROVED BY

DATE: 								    HOD (PDN)