ROUTINE TEST RECORD FOR BELT SCALE

JOB No.	:						CUSTOMER:

CAPACITY	:						TPH		CONVEYOR NO:

| BELT SCALE | SENSOR | TACHO | JUNCTION BOX |
| --- | --- | --- | --- |
| Model No. Serial No. REMOTE: Model No. Serial No. | Model No. Serial No. 1) 2) 3) 4) | AC / Pulse/Proximity Sensor Model No. Serial No. Rpm : N = S/3.14 * D = S Belt Speed in m/s. D Wheel dia in mts. | Model No. Serial No. Model No. Serial No. |

Check for short between Line & Neutral, Neutral & Earth , Line & Earth :

| SL. No. | Test Performed | Specified | Actual |
| --- | --- | --- | --- |
| 1. | Input Supply Voltage (+/-10%) |  |  |
| 2. | Derived DC Voltages (+/-5%) |  |  |
| 3. | Display and Keypad Functionality |  |  |
| 4. | Belt Load as specified in G.A. or MPL |  | Kg/m |
| 5. | Belt Speed as specified in G.A. or MPL |  | m/s |
| 6. | Number of PF Contacts |  |  |
| 7. | Communication Output (Specify) |  |  |
| 8. | Analog Output (Specify number) |  |  |
| 9. | Wiring, TB and Component Layout |  |  |

Resolution: L:              kg/m              S:                    m/s         r:                     tph           t:                        tonnes

Measurement to be done from 0 to 110% of the Belt Scale capacity.

| Load on Load cell kg | Belt load Kg/m | Speed in m/s | Rate in tph | Totalizer in Tones (6 min) | O/p current mA |
| --- | --- | --- | --- | --- | --- |

NOTE: Ensure that battery and appropriate fuse are installed as required. Final Inspection to be performed as per the Checklist after completion of Job

Instrument Used:

Tested by:	                                                       		                         Approved by:

Date:									(HOD – PDN)