ROUTINE TEST RECORD FOR LOAD INDICATOR / DIGITAL INDICATOR / TANK / HOPPER / SILO WEIGHING SYSTEM/CRANE WEIGHING SYSTEM

SYSTEM  :

JOB No.   :CUSTOMER: {{customer}}

CAPACITY:		Kg/Tonnes    	                           TAG. NO.:

| Load/Digital Indicator. | SENSOR | REMOTE (IF ANY) | JUNCTION BOX |
| --- | --- | --- | --- |
| Model No. {{di_model}} Serial No. {{di_serial}} SW version: {{sw_version}} | Model No. {{lc_model}} Serial No. 1) {{s1}} 2) {{s2}} 3) {{s3}} 4) {{s4}} | Model No. {{jbox_model}} Serial No. {{jbox_serial}} | Model No. Serial No. Model No. Serial No. |

Check for short between Line & Neutral , Neutral & Earth , Line & Earth :

| SL. No. | Test Performed | Specified Values | Actual Values |
| --- | --- | --- | --- |
| 1. | Input Supply Voltage (+/-10%) | {{spec_1}} | {{act_1}} |
| 2. | Derived DC Voltages (+/-5%) | {{spec_2}} | {{act_2}} |
| 3. | Check for the power on display and the Keyboard function. | {{spec_3}} | {{act_3}} |
| 4. | Load on the Load cell as specified in G.A. or MPL | {{spec_4}} | {{act_4}} |
| 5. | Tare weight as specified in G.A. or MPL | {{spec_5}} | {{act_5}} |

Resolution: L:              kg/T

Measurement to be done from 0 to 110% of the System capacity.

| Load on Load cell Kg/T or mV | Measured Load kg/T (1 to 4 Load cell system) 1 2 3 4 |  |  |  | Current output mA | Measured Load kg/T (5 to 8 Load cell system) 5 6 7 8 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| {{g1_0}} | {{g1_1}} | {{g1_2}} | {{g1_3}} | {{g1_4}} | {{g1_5}} | {{g1_6}} | {{g1_7}} | {{g1_8}} | {{g1_9}} |
| {{g2_0}} | {{g2_1}} | {{g2_2}} | {{g2_3}} | {{g2_4}} | {{g2_5}} | {{g2_6}} | {{g2_7}} | {{g2_8}} | {{g2_9}} |
| {{g3_0}} | {{g3_1}} | {{g3_2}} | {{g3_3}} | {{g3_4}} | {{g3_5}} | {{g3_6}} | {{g3_7}} | {{g3_8}} | {{g3_9}} |
| {{g4_0}} | {{g4_1}} | {{g4_2}} | {{g4_3}} | {{g4_4}} | {{g4_5}} | {{g4_6}} | {{g4_7}} | {{g4_8}} | {{g4_9}} |
| {{g5_0}} | {{g5_1}} | {{g5_2}} | {{g5_3}} | {{g5_4}} | {{g5_5}} | {{g5_6}} | {{g5_7}} | {{g5_8}} | {{g5_9}} |
| {{g6_0}} | {{g6_1}} | {{g6_2}} | {{g6_3}} | {{g6_4}} | {{g6_5}} | {{g6_6}} | {{g6_7}} | {{g6_8}} | {{g6_9}} |
| {{g7_0}} | {{g7_1}} | {{g7_2}} | {{g7_3}} | {{g7_4}} | {{g7_5}} | {{g7_6}} | {{g7_7}} | {{g7_8}} | {{g7_9}} |
| {{g8_0}} | {{g8_1}} | {{g8_2}} | {{g8_3}} | {{g8_4}} | {{g8_5}} | {{g8_6}} | {{g8_7}} | {{g8_8}} | {{g8_9}} |
| {{g9_0}} | {{g9_1}} | {{g9_2}} | {{g9_3}} | {{g9_4}} | {{g9_5}} | {{g9_6}} | {{g9_7}} | {{g9_8}} | {{g9_9}} |
| {{g10_0}} | {{g10_1}} | {{g10_2}} | {{g10_3}} | {{g10_4}} | {{g10_5}} | {{g10_6}} | {{g10_7}} | {{g10_8}} | {{g10_9}} |
| {{g11_0}} | {{g11_1}} | {{g11_2}} | {{g11_3}} | {{g11_4}} | {{g11_5}} | {{g11_6}} | {{g11_7}} | {{g11_8}} | {{g11_9}} |
| {{g12_0}} | {{g12_1}} | {{g12_2}} | {{g12_3}} | {{g12_4}} | {{g12_5}} | {{g12_6}} | {{g12_7}} | {{g12_8}} | {{g12_9}} |

ROUTINE TEST RECORD FOR LOAD / DIGITAL INDICATOR / TANK / HOPPER / SILO WEIGHING SYSTEM

| SL. No. | Test Performed | Checked: YES/NO |
| --- | --- | --- |
| 6. | PF/ Relay Contacts: Check for the relay change over for the set points. | {{check_6}} |
| 7. | Display Annunciation: (As per the software Details) | {{check_7}} |
| 8. | Communication: RS 232 / RS 485 / BCD / Other Communication Protocols (If any specify) The RS232 / RS485 to be checked with interfacing to PC {Attach a printout along with the test report for the Printer option} | {{check_8}} |
| 9. | Any other parameters (If Any) | {{check_9}} |
| 10. | Rating of the fuse used in the system: | {{check_10}} |

REMARKS (If ANY): -

Instrument Used: {{instrument_used}}

Tested by: {{tested_by}}                                                        Approved by:

Date: {{date}}(HOD – PDN)