TEST RECORD FOR VIBRATION SWITCH

| JOB ORDER NO.: CUSTOMER: |  |
| --- | --- |
| VIBRATION SWITCH MODEL NO.: SERIAL NO.: | ACCELEROMETER MODEL NO.: SERIAL NO.: |

- LINEARITY TEST (REFERENCE FREQUENCY- 50 Hz)

| Sl. No. | SET LEVEL VELOCITY cm/s (RMS) | TRIP LEVEL VELOCITY cm/s (RMS) |
| --- | --- | --- |
| 1 | {{cal_in_1}} | {{cal_out_1}} |
| 2 | {{cal_in_2}} | {{cal_out_2}} |
| 3 | {{cal_in_3}} | {{cal_out_3}} |
| 4 | {{cal_in_4}} | {{cal_out_4}} |

- FREQUENCY RESPONSE TEST

| Sl. No. | Frequency in Hz | SET LEVEL VELOCITY cm/s (RMS) |  |  | TRIP LEVEL VELOCITY cm/s (RMS) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 20 | {{spec_1}} | {{act_1}} | 7.0 |  |  |  |
| 2 | 50 | {{spec_2}} | {{act_2}} | 7.0 |  |  |  |
| 3 | 100 | {{spec_3}} | {{act_3}} | 7.0 |  |  |  |
| 4 | 150 | {{spec_4}} | {{act_4}} | 7.0 |  |  |  |

PERCENTAGE OF ERROR:

TESTED BY: {{tested_by}} APPROVED BY

DATE: {{date}}     HOD (PDN)