ROUTINE TEST RECORD FOR BELT SCALE

JOB No.	:	{{job_no}}						CUSTOMER: {{customer}}

CAPACITY	:	{{capacity}}						TPH		CONVEYOR NO:	{{conveyor_no}}

| BELT SCALE | SENSOR | TACHO | JUNCTION BOX |
| --- | --- | --- | --- |
| Model No. {{bs_model}} Serial No. {{bs_serial}} REMOTE: Model No. {{remote_model}} Serial No. {{remote_serial}} | Model No. {{sensor_model}} Serial No. 1) {{s1}} 2) {{s2}} 3) {{s3}} 4) {{s4}} | {{tacho_type}} Sensor Model No. {{tacho_model}} Serial No. {{tacho_serial}} Rpm : N = S/3.14 * D = {{tacho_rpm}} S Belt Speed in m/s. {{belt_speed}} D Wheel dia in mts. {{wheel_dia}} | Model No. {{jbox_model1}} Serial No. {{jbox_serial1}} Model No. {{jbox_model2}} Serial No. {{jbox_serial2}} |

Check for short between Line & Neutral, Neutral & Earth , Line & Earth : {{short_check}}

| SL. No. | Test Performed | Specified | Actual |
| --- | --- | --- | --- |
| 1. | Input Supply Voltage (+/-10%) | {{spec_1}} | {{act_1}} |
| 2. | Derived DC Voltages (+/-5%) | {{spec_2}} | {{act_2}} |
| 3. | Display and Keypad Functionality | {{spec_3}} | {{act_3}} |
| 4. | Belt Load as specified in G.A. or MPL | {{spec_4}} | {{act_4}} |
| 5. | Belt Speed as specified in G.A. or MPL | {{spec_5}} | {{act_5}} |
| 6. | Number of PF Contacts | {{spec_6}} | {{act_6}} |
| 7. | Communication Output (Specify) | {{spec_7}} | {{act_7}} |
| 8. | Analog Output (Specify number) | {{spec_8}} | {{act_8}} |
| 9. | Wiring, TB and Component Layout | {{spec_9}} | {{act_9}} |

Resolution: L:              kg/m              S:                    m/s         r:                     tph           t:                        tonnes

Measurement to be done from 0 to 110% of the Belt Scale capacity.

| Load on Load cell kg | Belt load Kg/m | Speed in m/s | Rate in tph | Totalizer in Tones (6 min) | O/p current mA AO1 AO2 |  |
| --- | --- | --- | --- | --- | --- | --- |
| {{g1_0}} | {{g1_1}} | {{g1_2}} | {{g1_3}} | {{g1_4}} | {{g1_5}} |  |
| {{g2_0}} | {{g2_1}} | {{g2_2}} | {{g2_3}} | {{g2_4}} | {{g2_5}} |  |
| {{g3_0}} | {{g3_1}} | {{g3_2}} | {{g3_3}} | {{g3_4}} | {{g3_5}} |  |
| {{g4_0}} | {{g4_1}} | {{g4_2}} | {{g4_3}} | {{g4_4}} | {{g4_5}} |  |
| {{g5_0}} | {{g5_1}} | {{g5_2}} | {{g5_3}} | {{g5_4}} | {{g5_5}} |  |
| {{g6_0}} | {{g6_1}} | {{g6_2}} | {{g6_3}} | {{g6_4}} | {{g6_5}} |  |

NOTE: Ensure that battery and appropriate fuse are installed as required. Final Inspection to be performed as per the Checklist after completion of Job

Instrument Used:	{{instrument_used}}

Tested by:	{{tested_by}}				Approved by:	{{approved_by}}

Date:	{{date}}							(HOD - PDN)